## Slide 1
Tutorial 1:
Exploring Soil Biogeochemistry & Respiration Data by Using MONet Shiny App
Qian Zhao, Layton Washburn, Kaizad Patel

## Slide 2: Data Being Collected
https://www.emsl.pnnl.gov/monet
More than 30 different data types

## Slide 3: Data Being Collected
https://www.emsl.pnnl.gov/monet
Biogeochemistry Analyses

## Slide 4: Biogeochemical Data and Protocols
Geochemistry
  Ca, Mg, Na, K – Ammonium Acetate method
  Zn, Mn, Cu, Fe, B, SO4-S – DTPA (diethylenetriaminepentaacetic acid)
  Cation Exchange Capacity (CEC) – Ammonium Replacement Method.
  Texture – Hydrometer
Extractable nutrients
  NH4-N, NO3-N – extracted with 0.5M K2SO4; measured by colorimetric approach.
  PO4-P:
    Bray method: Bray solution (0.025M HCl & 0.03M NH4F)
    Olsen method: 0.5M NaHCO3 extraction solution
Analyzed by ICP-OES.
Analyzed by the Murphy-Riley Method (colorimeter at 880nm).
References:
Bray, R.H. and L.T. Kurtz 1945. Determination of total, organic and available phosphorus in soil. Soil Sci. 59:39-45.
Olsen, S. R. and Sommers, L. E. 1982. Phosphorus. pp. 403-430. In: A. L. Page, et al. (eds.) Methods of soil analysis: Part 2. Chemical and microbiological properties. Agron. Mongr. 9. 2nd ed. ASA and SSSA, Madison, WI.
Notes: Cation Exchange Capacity (CEC) – Ammonium Replacement Method. Ammonium acetate to replace all exchangeable cations. Then, use 0.1M HCl to replace the exchangeable ammonium. Ammonium-N was measured ALPKEM rapid flow analyzer to determine the CEC.

## Slide 5: Biogeochemical Data and Protocols
Bulk chemistry
  Total C, total N – TOC analyzer via combustion
  pH – 1:1 soil to water ratio
  Respiration:
    Rewet air-dried soil and measure CO2 in 24 and 96 hours via infrared gas analysis.
    Respirometer – Biological oxygen demand.
  Water extractable C & N – extract at 1:5 soil to water ratio; measured by TOC analyzer.
  Mineral associated organic matter – extract with 0.5M HCl; measured by TOC analyzer.
Microbiology
  Microbial biomass C & N:
    0.5M K2SO4 extraction – salt extractable C & N
    Chloroform fumigation – microbial biomass C & N
    Measured by TOC analyzer for C & N concentrations.
  Enzyme activity – 𝛽-glucosidase measures with a spectrophotometer at 405 nm.
References:
Marx, M. C., Wood, M., & Jarvis, S. C. (2001). A microplate fluorimetric assay for the study of enzyme diversity in soils. Soil biology and biochemistry, 33(12-13), 1633-1640.
Notes: β-Glucosidase completes the final step of hydrolysis by converting the cellobiose to glucose

## Slide 7: Biogeochemistry Analyses
https://www.emsl.pnnl.gov/monet
MONet | NEON
Gravimetric Water Content (GWC) | Soil CO2 concentration
Microbial Biomass C and N | Soil heat flux plate
pH | Soil inorganic nitrogen pools and transformations
Soil Pore Network Structure | Soil microbe biomass
Water Extractable Organic Matter (WEOM) | Soil microbe community composition
Mineral-Associated Organic Matter (MAOM) | Soil microbe group abundances
Nitrogen Concentration (NO3- and NH4-) | Soil microbe marker gene sequences
Phosphorus Concentration (Ortho-P) | Soil microbe metagenome sequences
Geochemistry - K, SO42-, B, Zn, Mn, Cu, Fe, Ca, Mg, Na, Total Bases, CEC | Soil physical and chemical properties, distributed initial characterization
Metagenomics | Soil stable isotopes, periodic
Potential Enzyme Activitiy (𝛽-glucosidase) | Soil temperature
Respiration | Soil water content and water salinity
Texture | Vegetation structure
Total C and N | Wet deposition chemical analysis
 | Root chemical properties
 | Root stable isotopes
https://data.neonscience.org/

## Slide 8
Collect Metadata
MONet Types of Metadata
Additional public-facing auxiliary data (atmospheric, groundwater, eddy-covariance, plant phenotype, etc.)
Notes: What does submission process look like for a MONet participant.
A simplified the process, minimize barriers of participation. MONet participants complete a short form 250 to 500 words, brief description of their research.
Submit a proposal through EMSL portal, describing the metadata.
PI, collect and send soil cores

## Slide 9
Qian Zhao
Processing respiration data
Layton Washburn
Introduction to the 1000 Soils Shiny App
Kaizad Patel
Processing, visualizing, and interpreting biogeochemistry data

## Slide 10
Tutorial 1:
Exploring Respiration Data
Qian Zhao
Earth Scientist

## Slide 11
9.4
Billion metric tons of C/yr
Carbon in Soil
~3000 Billion metric tons
Global carbon cycle
(Adapted from Britt E. Erickson, http://cen.acs.org)
Soil – C Source?
Soil – C Sink?
112.9 Billion metric tons C/yr
107.2 Billion metric tons C/yr

## Slide 12: Soil Respiration is regulated by microbes, organic chemistry, and plant root inputs.
CO2
CO2
CO2
CO2

## Slide 13: Soil respiration can be changed with temperature, season, and other variables.
Luo et al. Acclimatization of soil respiration to warming in a tall grass prairie. Nature 413, 622–625 (2001). https://doi.org/10.1038/35098065
Vargas et al. Frontiers and challenges in soil respiration research: from measurements to model-data integration. Biogeochemistry 102, 1–13 (2011). https://doi.org/10.1007/s10533-010-9462-1

## Slide 14: Our Respiration Protocol
Protocol:
50 g field moisture soil added to flask.
Respirometer and incubation flask are placed in 21℃ chamber and acclimated for two hours.
6 KOH pellets added to alkali collector
Decreased pressure  O2 consumption
The kinetics was measured every two hours for 5 days.
Respirometer provides BOD (mg/L) as raw data.
Orange= Pressure
Blue= BOD (mg/L)
CO2 + 2KOH → K2CO3 + H2O

## Slide 15: From Raw to Processed Data
Converting BOD_mg/L (raw data) to CO2_mg/g (Processed data)
    Converting CO2 unit from mg/L to mg/g by multiplying volume of headspace and dividing soil dry weight.
 | A | B | C | D
 | Sample_ID | XYZ |  | 
1 | Headspace_vol_L | 0.97 |  | 
2 | Dry_Soil_Mass_g | 50 |  | 
3 |  |  |  | 
4 |  |  |  | 
5 | Time_hr | BOD_mg/L | CO2_mg/L | CO2_mg/g
6 | 0 | 0.0 | 0 | 0.000
7 | 2 | 22.0 | 30.25 | 0.618
8 | 4 | 22.0 | 30.25 | 0.618
9 | 6 | 24.0 | 33 | 0.674
10 | 8 | 24.0 | 33 | 0.674
11 | 10 | 32.0 | 44 | 0.899
12 | 12 | 32.0 | 44 | 0.899
Goldsmith, J., Coburn, J., Neulicht, R., & Bronstein, K. E. (2010). Greenhouse gas emissions estimation methodologies for biogenic emissions from selected source categories: Solid waste disposal, wastewater treatment, ethanol fermentation. U.S EPA.
    BOD/32 (MW of O2) x 44 (MW of CO2)

## Slide 16: Fitting Respiration Data
Fit the kinetics data with 1st order respiration model:
CO2 = B + A*(1-exp(-k*t))
CO2 is the CO2 concentration, B is the initial CO2 concentration at time 0, A is the maximum CO2 generation in the sample, k is the rate constant (hr-1), t is the time (hr).
 | A | B | C | D | E | F
 | Sample_ID | XYZ |  | B | 0.108 | 
1 | Headspace_vol_L | 0.97 |  | A | 1.714 | 
2 | Dry_Soil_Mass_g | 50 |  | k | 0.068 | 
3 |  |  |  | Sum of chi sq | 0.527 | 
4 |  |  |  |  |  | 
5 | Time_hr | BOD_mg/L | CO2_mg/L | CO2_mg/g | Predicted CO2 | Chi sq
6 | 0 | 0.0 | 0 | 0.000 | 0.108 | 0.012
7 | 2 | 22.0 | 30.25 | 0.618 | 0.326 | 0.085
8 | 4 | 22.0 | 30.25 | 0.618 | 0.516 | 0.010
9 | 6 | 24.0 | 33 | 0.674 | 0.682 | 0.000
10 | 8 | 24.0 | 33 | 0.674 | 0.827 | 0.023
11 | 10 | 32.0 | 44 | 0.899 | 0.954 | 0.003
12 | 12 | 32.0 | 44 | 0.899 | 1.064 | 0.027

## Slide 17: Fitting Respiration Data
Chart: 
| 0 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66 | 68 | 70 | 72 | 74 | 76 | 78 | 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100 | 102 | 104 | 106 | 108 | 110 | 112 | 114
CO2_mg/g | 0 | 0.61803 | 0.61803 | 0.67421 | 0.67421 | 0.89895 | 0.89895 | 1.0113 | 0.98323 | 1.3484 | 1.3765 | 1.517 | 1.5732 | 1.6013 | 1.6855 | 1.6855 | 1.7417 | 1.6855 | 1.6855 | 1.6855 | 1.7417 | 1.7417 | 1.826 | 1.826 | 1.8822 | 1.7979 | 1.7979 | 1.7979 | 1.7979 | 1.7417 | 1.7979 | 1.7979 | 1.7979 | 1.8822 | 1.6855 | 1.826 | 1.7979 | 1.7979 | 1.7417 | 1.7979 | 1.826 | 1.6855 | 1.7979 | 1.7979 | 1.7417 | 1.7979 | 1.826 | 1.8822 | 1.5732 | 1.826 | 1.8822 | 1.8822 | 1.8822 | 1.7979 | 1.826 | 1.826 | 1.9103 | 1.6013
 | 0.24564 | 0.45806 | 0.64177 | 0.80064 | 0.93804 | 1.0569 | 1.1596 | 1.2485 | 1.3253 | 1.3918 | 1.4493 | 1.499 | 1.5419 | 1.5791 | 1.6113 | 1.6391 | 1.6631 | 1.6839 | 1.7019 | 1.7174 | 1.7309 | 1.7425 | 1.7526 | 1.7613 | 1.7688 | 1.7753 | 1.7809 | 1.7858 | 1.79 | 1.7936 | 1.7968 | 1.7995 | 1.8019 | 1.8039 | 1.8057 | 1.8072 | 1.8085 | 1.8096 | 1.8106 | 1.8115 | 1.8122 | 1.8128 | 1.8134 | 1.8139 | 1.8143 | 1.8146 | 1.8149 | 1.8152 | 1.8154 | 1.8156 | 1.8158 | 1.816 | 1.8161 | 1.8162 | 1.8163 | 1.8164 | 1.8165
Time (hr)
Cumulative CO2 (mg/g)
 | A | B | C | D | E | F
 | Sample_ID | XYZ |  | B | 0.108 | 
1 | Headspace_vol_L | 0.97 |  | A | 1.714 | 
2 | Dry_Soil_Mass_g | 50 |  | k | 0.068 | 
3 |  |  |  | Sum of chi sq | 0.527 | 
4 |  |  |  |  |  | 
5 | Time_hr | BOD_mg/L | CO2_mg/L | CO2_mg/g | Predicted CO2 | Chi sq
6 | 0 | 0.0 | 0 | 0.000 | 0.108 | 0.012
7 | 2 | 22.0 | 30.25 | 0.618 | 0.326 | 0.085
8 | 4 | 22.0 | 30.25 | 0.618 | 0.516 | 0.010
9 | 6 | 24.0 | 33 | 0.674 | 0.682 | 0.000
10 | 8 | 24.0 | 33 | 0.674 | 0.827 | 0.023
11 | 10 | 32.0 | 44 | 0.899 | 0.954 | 0.003
12 | 12 | 32.0 | 44 | 0.899 | 1.064 | 0.027

## Slide 18: Data Being Collected
https://www.emsl.pnnl.gov/monet
Biogeochemistry Analyses

## Slide 19
Tutorial 1:
Deep Dive in MONet Shiny App Visualization Tool
Layton Washburn
Tech Student

## Slide 20: Overview of MONet Shiny App
A visualization tool to explore MONet data
A website-based app that is publicly available to everyone
A pilot app for future MONet data portal
1000 soil pilot study database
https://shinyproxy.emsl.pnnl.gov/app/1000soils

## Slide 21
Tutorial 1:
Exploring Biogeochemistry Data
Kaizad Patel
Soil Scientist

## Slide 22: (Bio) geochemical analytes
Bulk chemistry
TC, TN, C:N
pH
Extractable bases
Ca, Mg, Na, K
Bases, CEC
Extractable metals
Cu, Fe, Zn
Extractable CN
WEOC, WETN
Microbial biomass
MBC, MBN
Extractable nutrients
NH4-N, NO3-N
SO4-S
Texture
Sand, Silt, Clay

## Slide 23: Correlations

## Slide 24: Correlations
Correlations using the Shiny App

## Slide 25: Correlations

## Slide 26: Correlations

## Slide 27: Correlations

## Slide 28: Total C
Total carbon by combustion

## Slide 29: Total C
TC significantly influenced by depth and biome

## Slide 30: TC vs. WEOC

## Slide 31: Cation Exchange Capacity (CEC)
Measure of soil to retain readily exchangeable cations that neutralize the negative charge of soils
Saturate the exchange sites with ammonium
Flush ammonium, replace with H+
Notes: Ammonium replacement method:
Saturate the exchange sites with ammonium
Remove the ammonium and replace with HCl
Measure of soil to retain readily exchangeable cations that neutralize the negative charge of soils.

## Slide 32: Cation Exchange Capacity (CEC)
Notes: Ammonium replacement method:
Saturate the exchange sites with ammonium
Remove the ammonium and replace with HCl
Measure of soil to retain readily exchangeable cations that neutralize the negative charge of soils.

## Slide 33: Cation Exchange Capacity (CEC)
CEC significantly influenced by biome

## Slide 34: Texture
Hydrometer method

## Slide 35: Texture

## Slide 36: Texture
Texture drives Cation Exchange Capacity

## Slide 37: TOMORROW (Session 4)
Hands on learning session
Pre-requisites:
MS Excel
R and RStudio
Before the session:
Download the tutorials from our GitHub repository